DENSI CALIBRATION STEPS 

· Swich off the indicator

· Swich on the indicator by pressing 3 (F3) key.

· It writes tESt on the screen. Press 3 (F3) key again.
· It writes St.CaL on the screen. Press SET key.
· It writes d XXXX on the screen. Press SET key.
· It writes C XXXX on the screen. This is the capacity of weighbridge. Write the capacity of weighbridge. If it is same don't change it. Press SET key.
· It writes d XXXX on the screen. Press SET key.

· It writes S XXXX on the screen. Please write the value of total scale. This is the amount of total scale we put on the weighbridge. Total scale shoud be minimum 1/10 of capacity (For Example: If the capacity is 5000KG, you sould put total scale minimum 500KG). Please write by keyboard on the indicator and press SET key. 

· It writes LoAd on screen. No you can load the scales to the weightbridge. Scales should be placed with balanced. If scales are ready press SET key.

· It writes XXXXXX on screen. Press SET key again.

· It writes End on screen. Now please unload scales step by step and check the value on indicator.
Now the calibration is okey. You can check the values.
NOTE : This steps are using for calibratin the indicators that Prokser supervisor's first setup. If you need to change capacity or steps, please concact with Prokser.

PROKSER ELEKTROMEKANİK SİSTEMLER

